February 4, 2015

To: Weber County Engineering

From: Landmark Surveying

Subject: Clint Bybee Subdivision

The review comments dated 12-30-2014 from Weber County Engineering notes are addressed as follows:

1. A deferral for the curb & Gutter will be requested.

2. Note about storm water has been added.

3. There are no ditches supplying water to surrounding properties.

4. The road is platted as a 66’ wide ROW and is now labeled.

5. Existing structures are now shown.

6. Perc test were not required since there are no plans to increase the dwelling space.