- Where will the drainage go at the west end of lot 3?

  - The drainage from the Existing roadway currently flows into a barrow ditch and heads continues westerly in the existing drainages. We are proposing to use the same ditches and tie in the new barrow ditch and continue the flows westerly.

- An excavation permit is required for all work done within the existing right-of-way.

  - A permit will be taken out prior to the Pre-Con meeting.

- All improvements need to be either installed or escrowed for prior to recording of the subdivision.  A Engineers cost estimate will need to be submitted and review and an escrow approved.

  - A Engineers estimate is included as part of this submittal.

- A Storm Water Construction Activity Permit is required for any construction that disturbs more than 5000 sq. ft. or 200 cu yds.

  - A permit will be taken out prior to the Pre-Con meeting.

- If construction activity will disturb more than an acre then a state permit will be required.  This includes the construction of the homes etc. on each lot.

  - A SWPPP has been prepared and the State Permit will be taken out prior to the Pre-Con Meeting

- The standard rural roadway section does not meet the county standards.

  - The road section has been corrected to reflect the current paving standards.