1. Where will the drainage go at the west end of lot 3?
	1. The drainage from the Existing roadway currently flows into a barrow ditch and heads continues westerly in the existing drainages. We are proposing to use the same ditches and tie in the new barrow ditch and continue the flows westerly.
2. An excavation permit is required for all work done within the existing right-of-way.
	1. A permit will be taken out prior to the Pre-Con meeting.
3. All improvements need to be either installed or escrowed for prior to recording of the subdivision.  A Engineers cost estimate will need to be submitted and review and an escrow approved.
	1. A Engineers estimate is included as part of this submittal.
4. A Storm Water Construction Activity Permit is required for any construction that disturbs more than 5000 sq. ft. or 200 cu yds.
	1. A permit will be taken out prior to the Pre-Con meeting.
5. If construction activity will disturb more than an acre then a state permit will be required.  This includes the construction of the homes etc. on each lot.
	1. A SWPPP has been prepared and the State Permit will be taken out prior to the Pre-Con Meeting
6. The standard rural roadway section does not meet the county standards.
	1. The road section has been corrected to reflect the current paving standards.