January 21, 2015

To: Weber County

From: Landmark Surveying

Subject: Davis Meats Subdivsion

Engineering review comments dated 3/2/2017

The review notes are addressed as follows:

1. Existing ditch is shown as piped with a 15” RCP pipe.

Surveyor review comments dated 2/2/2017

The review notes are addressed as follows:

1. Red line comments on plat are addressed. Easements that affect property are shown, (note Rocky Mountain Power easements are blanket easements). Existing ditches are shown. Adjoining landowners (subdivisions) are labeled. No houses/structures within 30’ of this property. Owners dedication revised.

Planning review comments dated 2/28/2017

The review notes are addressed as follows:

1. Red line comments on plat are addressed. Signature blocks updated. Existing ditches are shown. Adjoining landowners (subdivisions) are labeled. Property description runs along Section line which has been previously established as the West right of way of 7500 West, no dedication needed.