C.L.S., Inc.

810 Canyon Road

Ogden, Utah 84404

3/20/18

Ref: HuckNail Tockard Villas Subdivision

Weber County Engineering Review 3/20/18

1) Please Provide Document.

2) See Note on Sub. Plat.

3) See Plat 3/20/18, Dedication Shown.

4) See Note on Sub. Plat, can Provide a Sketch if Required.

5) See Plat, Private 20 foot Wide Irrigation Esm't. for Lots 1-3.

6) Prior Plat held out to Vacate this Esm't., Not Now, Holding to Existing Esm't for Ingress & Egress for the Adjacent Land Owner to the Rear. Within this Esmt of Ingress & Egress there is a 24" Private Irrigation Line, Running from East Side of 4700 West throu Property to the West, Services the Existing Ditch Running along Our West Property Line.

7) See Plat, Test Holes shown 1-3 On Lot 2.

8) Please Provide an Example of the SWPP, we will prepare one for the Building Permit ass Required by Weber County.

Thank You

Cynthia Segriff PLS