Sept 25 2018 received from JUB

I have completed my portion of the inspections yesterday on the GIS Map. Below are the states of each of the sites:

**Opheikens Residence-CS – 664 N 4700 W**

Need to use concrete washout

**Norton Residence SWCAP – 191 N 4700 W**

                This is the correct address, address in Miradi is wrong

                Need gravel for trackout pad

                Need to stake down toilet

**Hodson-SWCAP – 165 S 7900 W**

                Need dumpster – trash is all over

**Blakeley Residence-CS – 7863 W 900 S**

                Need to use concrete washout

                Need dumpster on site

**Lyons Residence-CS – 7457 W 900 S**

                Haven’t started yet

**Salmon-SWCAP – 4871 W Jacquelyn Parklane**

                Need to maintain concrete washout

                Need to move toilet back to at least 10 ft. from gutter

**Murray Storage Shed SWPPP-CS – 5272 W 2200 S**

                This is the correct address, the address in Miradi is wrong

Thank you,

Dan Johnson, E.I.T.

*Design Engineer*

**J-U-B ENGINEERS, Inc.**

466 North 900 West, Kaysville, UT 84037

*e*  djohnson@jub.com*w* [www.jub.com](http://www.jub.com/)

*p*  801 547 0393  *c*  385 626 8893  *f*  801 547 0397