May 4, 2023

Steve Burton

Weber County Planning Commission

2380 Washington Blvd #240, Ogden, UT 84401

SUBJECT: Rulon Flex Space

Sanitary Sewer Service Will Serve Letter

Steve:

At the request of Joey Day, for Rulon Flex Space, 31,338 Sq. Ft. of self-storage located approximately 2241 N. Rulon White Blvd. Ogden, Utah. This property has previously been annexed into the district. We offer the following comments regarding Central Weber providing sanitary sewer service.

1. At this time, Central Weber has the capacity to treat the sanitary sewer flow from this subdivision. The Inasmuch as system demand continuously changes with growth, this assessment is valid for three (3) years from the date issued on this letter.
2. If any connection is made directly into Central Weber’s line the connection must be inspected by Central Weber while the work is being done. A minimum of 48-hour notice for inspection shall be given to Central Weber prior to any work associated with the connection.
3. Central Weber will not take ownership or responsibility for the condition, ownership or maintenance of the proposed sanitary sewer lines (gravity or pressure) or system that will be installed to serve this subdivision.
4. The connection of any sump pumps (or similar type pumps) to the sanitary sewer system is prohibited during or after construction. Central Weber’s Wastewater Control Rules and Regulations state:

*Prohibited Discharge into Sanitary Sewer. No person shall discharge or cause or make a connection which would allow to be discharged any storm water, surface water, groundwater, roof water runoff or subsurface drainage to any sanitary sewer.*

1. The entire parcel of property to be served will need to be annexed into the district prior to any connection to the district’s line. This annexation must be complete before the sale of any lots in

the subdivision.

1. Impact fees will need to be paid to Central Weber Sewer Improvement District no later than the issuance of any building permits. Annexation Book 86 page 6.

If you have any further questions or need additional information, please let us know. Sincerely,

Clayton M

ar

Digitally signed by Clayton Marriott DN: C=US,

E=Claym@centralweber.com, O="CENTRAL WEBER SEWER ", OU="CENTRAL WEBER SEWER

riott

", CN=Clayton Marriott

Reason: document

I am

the author of this

.04 08:22:51-06'00'

Date: 2023.05

Clay Marriott Project Manager

CC: Kevin Hall, Central Weber Sewer Paige Spencer

Joey Day