## Sheet1
CANTERBURY CROSSING |  |  |  |  | 2003-04-25
Residential Subdivision 132 Lots
Section l: |  |  | Qty | Cost | Total
Streets:
Rough Grading and Excavation |  |  | 10268 | 4 | 41072
Soil density and compaction tests |  |  | 12 | 100 | 1200
Sewer:
Furnish and install 8 inch PVC |  |  | 7493 | 15 | 112395
Connection to existing sewer |  |  | 1 | 3500 | 3500
Service connections |  |  | 132 | 475 | 62700
Furnish and install 4 ft manholes |  |  | 12 | 1700 | 20400
Furnish and install 5 ft manholes |  |  | 18 | 1700 | 30600
Test sewer |  |  | 1 | 4500 | 4500
Section l total: | [5 empty] | 276367
Section ll:
Water:
Furnish and install C900 DL18 Water Main |  |  | 7493 | 16.5 | 123634.5
Connection to existing water main |  |  | 1 | 3500 | 3500
Furnish and install Fire Hydrants complete |  |  | 12 | 2600 | 31200
Service connections |  |  | 132 | 475 | 62700
Pressure Test |  |  | 1 | 1200 | 1200
Section ll total: | [5 empty] | 222234.5
Section lll:
Storm Sewer:
Furnish and install 21 inch RCP |  |  | 6500 | 27 | 175500
Connection to existing storm drain |  |  | 1 | 2600 | 2600
Inlet boxes |  |  | 30 | 650 | 19500
Section lll total: | [5 empty] | 197600
Section lV:
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 14734 | 0.5 | 7367
30" curb and gutter (includes 4" road base) |  |  | 14734 | 14.67 | 216147.78
4' sidewalk (includes 4" road base) |  |  | 14734 | 10.1 | 148813.4
Section lV total: | [5 empty] | 372328.18
Section V:
Paving:
Furnish & install 4" pit run, 6" road base,
and 3" asphalt |  |  | 239776 | 1.3 | 311708.8
Seal Coat |  |  | 239776 | 0.16 | 38364.16
Section V total: | [5 empty] | 350072.96
Section Vl:
Miscellaneous:
Manhole collars |  |  | 30 | 250 | 7500
Valve boxes |  |  | 13 | 60 | 780
Gate Valves |  |  | 13 | 350 | 4550
Excavate Power Trenches |  |  | 132 | 250 | 33000
Excavate Gas Trenches |  |  | 132 | 250 | 33000
Fine Grade Lots |  |  | 891000 | 0.07 | 62370
Section Vl total: | [5 empty] | 141200
TOTAL ALL SECTIONS: | [5 empty] | 1559802.64
132 | LOTS = | 11816.6867 | PER LOT
CANTERBURY CROSSING |  |  |  |  | 2003-04-25
Access Road;
Section l: |  |  | Qty | Cost | Total
Streets:
Rough Grading and Excavation |  |  | 4662 | 4 | 18648
Soil density and compaction tests |  |  | 6 | 100 | 600
Sewer:
Furnish and install 8 inch PVC |  |  | 3070 | 15 | 46050
Connection to existing sewer |  |  | 1 | 3500 | 3500
Service connections |  |  | 0 | 475 | 0
Furnish and install 4 ft manholes |  |  | 4 | 1700 | 6800
Furnish and install 5 ft manholes |  |  | 8 | 1700 | 13600
Test sewer |  |  | 1 | 2500 | 2500
Section l total: | [5 empty] | 91698
Section ll:
Water:
Furnish and install C900 DL18 Water Main |  |  | 3070 | 16.5 | 50655
Connection to existing water main |  |  | 1 | 3500 | 3500
Furnish and install Fire Hydrants complete |  |  | 5 | 2600 | 13000
Service connections |  |  | 0 | 475 | 0
Pressure Test |  |  | 1 | 1200 | 1200
Section ll total: | [5 empty] | 68355
Section lll:
Storm Sewer:
Furnish and install 15 inch RCP |  |  | 2000 | 19 | 38000
Connection to existing storm drain |  |  | 1 | 2600 | 2600
Inlet boxes |  |  | 6 | 650 | 3900
Section lll total: | [5 empty] | 44500
Section lV:
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 6140 | 0.5 | 3070
30" curb and gutter (includes 4" road base) |  |  | 6140 | 14.67 | 90073.8
4' sidewalk (includes 4" road base) |  |  | 6140 | 10.1 | 62014
Section lV total: | [5 empty] | 155157.8
Section V:
Paving:
Furnish & install 4" pit run, 6" road base,
and 3" asphalt |  |  | 110520 | 1.3 | 143676
Seal Coat |  |  | 110520 | 0.16 | 17683.2
Lanes on 4000 South |  |  | 10000 | 3.56 | 35600
Section V total: | [5 empty] | 196959.2
Section Vl:
Miscellaneous:
Manhole collars |  |  | 12 | 250 | 3000
Valve boxes |  |  | 6 | 60 | 360
Gate Valves |  |  | 6 | 350 | 2100
Excavate Power Trenches |  |  | 6140 | 2.5 | 15350
Excavate Gas Trenches |  |  | 6140 | 2.5 | 15350
Fine Grade Lots |  |  | 0 | 0.07 | 0
Section Vl total: | [5 empty] | 36160
TOTAL ALL SECTIONS: | [5 empty] | 592830
3070 | LF Road= | 193.1042 | Per Lin Ft
ESTIMATE OF COSTS FOR:
CANTERBURY CROSSING |  |  |  |  | 2004-06-08
Residential Subdivision 180 Lots
Section l: |  |  | Qty | Cost | Total
Streets:
Rough Grading and Excavation |  |  | 10268 | 4 | 41072
Soil density and compaction tests |  |  | 12 | 100 | 1200
Sewer:
Furnish and install 8 inch PVC |  |  | 7989 | 15 | 119835
Connection to existing sewer |  |  | 1 | 3500 | 3500
Service connections |  |  | 180 | 475 | 85500
Furnish and install 4 ft manholes |  |  | 12 | 1700 | 20400
Furnish and install 5 ft manholes |  |  | 18 | 1700 | 30600
Test sewer |  |  | 1 | 4500 | 4500
Section l total: | [5 empty] | 306607
Section ll:
Water:
Furnish and install C900 DL18 Water Main |  |  | 7989 | 16.5 | 131818.5
Connection to existing water main |  |  | 1 | 3500 | 3500
Furnish and install Fire Hydrants complete |  |  | 12 | 2600 | 31200
Service connections |  |  | 180 | 475 | 85500
Pressure Test |  |  | 1 | 1200 | 1200
Section ll total: | [5 empty] | 253218.5
Section lll:
Storm Sewer:
Furnish and install 21 inch RCP |  |  | 6500 | 27 | 175500
Connection to existing storm drain |  |  | 1 | 2600 | 2600
Inlet boxes |  |  | 30 | 650 | 19500
Section lll total: | [5 empty] | 197600
Section lV:
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 15978 | 0.5 | 7989
30" curb and gutter (includes 4" road base) |  |  | 15978 | 15 | 239670
4' sidewalk (includes 4" road base) |  |  | 15978 | 11 | 175758
Section lV total: | [5 empty] | 423417
Section V:
Paving:
Furnish & install 9" pit run, 6" road base,
and 3" asphalt |  |  | 239776 | 1.52 | 364459.52
Seal Coat |  |  | 239776 | 0.17 | 40761.92
Section V total: | [5 empty] | 405221.44
Section Vl:
Miscellaneous:
Manhole collars |  |  | 30 | 250 | 7500
Valve boxes |  |  | 13 | 60 | 780
Gate Valves |  |  | 13 | 350 | 4550
Excavate Power Trenches |  |  | 180 | 250 | 45000
Excavate Gas Trenches |  |  | 180 | 250 | 45000
Fine Grade Lots |  |  | 891000 | 0.08 | 71280
Engineering: |  |  |  |  | 39826
Section Vl total: | [5 empty] | 213936
TOTAL ALL SECTIONS: | [5 empty] | 1799999.94
180 | LOTS = | 9999.9997 | PER LOT
ESTIMATE OF COSTS FOR:
CANTERBURY CROSSING |  |  | 2004-06-17
Residential Subdivision 180 Lots
Section l:
Streets & | Sewer: | 306607
Section ll:
Water: |  | 253219
Section lll:
Storm Sewer: |  | 197600
Section lV:
Curb & Gutter, Sidewalk: |  | 423417
Section V:
Paving: |  | 405221
Section Vl:
MISC & ENGINEERING: |  | 213936
TOTAL ALL SECTIONS: |  | 1800000

## Sheet2
ESTIMATE OF COSTS FOR:
CANTERBURY CROSSING | [7 empty] | 2004-06-24
Residential Subdivision 29 Lots
Section l: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Streets @ 60' ROW:
Grubbing and clearing |  |  | 163 | 37 | 1 | 223.3704 | cy | 4.1 | 915.8185
Soil density and compaction tests | [5 empty] | 2 | ea | 100 | 200
Gravel Base |  |  | 163 | 37 | 1.25 | 558.4259 | tn | 6.5 | 3629.7685
Asphalt |  |  | 163 | 32 | 3" | 5216 | sf | 1 | 5216
Asphalt Seal Coat | [5 empty] | 5216 | sf | 0.17 | 886.72
10848.307
Streets @ 50' ROW:
Grubbing and clearing |  |  | 1045 | 32 | 1 | 1238.5185 | cy | 4.1 | 5077.9259
Soil density and compaction tests | [5 empty] | 6 | ea | 100 | 600
Gravel Base |  |  | 1045 | 32 | 1.25 | 3096.2963 | tn | 6.5 | 20125.9259
Asphalt |  |  | 1045 | 27 | 3" | 28215 | sf | 1 | 28215
Asphalt Seal Coat | [5 empty] | 28215 | sf | 0.17 | 4796.55
58815.4019
Section l total: | [8 empty] | 69663.7089
Section ll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Culinary Water:
Furnish and install C900 DL18 Water Main |  |  | 1154 |  |  | 1154 | lf | 14 | 16156
Connection to existing water main | [5 empty] | 1 | ea | 3500 | 3500
Furnish and install Fire Hydrants complete | [5 empty] | 3 | ea | 2700 | 8100
Service connections |  |  | 40 |  |  | 17 | ea | 525 | 8925
Service connections |  |  | 30 |  |  | 12 | ea | 475 | 5700
Pressure Test | [5 empty] | 1 | ea | 1200 | 1200
Plug & Block | [5 empty] | 3 | ea | 300 | 900
Tees, Elbows | [5 empty] | 5 | ea | 300 | 1500
Valves | [5 empty] | 4 | ea | 400 | 1600
47581
Secoundary Water:
Furnish and install C900 DL18 Water Main |  |  | 1221 |  |  | 1221 | lf | 14 | 17094
Connection to existing water main | [5 empty] | 1 | ea | 1200 | 1200
Service connections |  |  | 55 |  |  | 7 | ea | 525 | 3675
Service connections |  |  | 35 |  |  | 9 | ea | 475 | 4275
Pressure Test | [5 empty] | 1 | ea | 1200 | 1200
Plug & Block | [5 empty] | 2 | ea | 300 | 600
Tees, Elbows | [5 empty] | 2 | ea | 300 | 600
Valves | [5 empty] | 3 | ea | 400 | 1200
29844
Section ll total: | [8 empty] | 77425
Section lll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Sanitary Sewer:
Furnish and install 8 inch PVC |  |  | 1088 |  |  | 1088 | lf | 17 | 18496
Connection to existing sewer | [5 empty] | 0 | ea | 3500 | 0
Service connections |  |  | 40 |  |  | 17 | ea | 575 | 23000
Service connections |  |  | 30 |  |  | 12 | ea | 475 | 14250
Furnish and install 4 ft manholes | [5 empty] | 5 | ea | 1700 | 8500
Furnish and install 5 ft manholes | [5 empty] | 1 | ea | 1900 | 1900
Test sewer | [5 empty] | 1 | ea | 4500 | 4500
70646
Storm Sewer:
Furnish and install 15 inch RCP |  |  | 984 |  |  | 984 | lf | 20 | 19680
Connection to existing storm drain | [5 empty] | 0 | ea | 2600 | 0
Inlet boxes | [5 empty] | 8 | ea | 650 | 5200
24880
Section lll total: | [8 empty] | 95526
Section lV: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 2240 | 5 | 0.5 | 207.4074 | cy | 4.1 | 850.3704
30" curb and gutter (includes 4" road base) |  |  | 2240 | 2.5 |  | 2240 | lf | 15 | 33600
4' sidewalk (includes 4" road base) |  |  | 2240 |  |  | 2240 | lf | 11 | 24640
59090.3704
Section lV total: | [8 empty] | 59090.3704
Section V:
Land Drain:
Furnish and install 8 inch PVC |  |  | 1064 |  |  | 1064 | lf | 19 | 20216
Connection to existing sewer | [5 empty] | 0 | ea | 3500 | 0
Laterals |  |  | 45 |  |  | 16 | ea | 575 | 25875
Laterals |  |  | 25 |  |  | 13 | ea | 475 | 11875
Furnish and install 4 ft manholes | [5 empty] | 5 | ea | 1700 | 8500
Furnish and install 5 ft manholes | [5 empty] | 1 | ea | 1900 | 1900
Test sewer | [5 empty] | 0 | ea | 4500 | 0
68366
Section V total: | [8 empty] | 68366
Section VI: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Miscellaneous: | [8 empty] | 25000
Manhole collars | [5 empty] | 18 | ea | 250 | 4500
Fencing | [5 empty] | 360 | lf | 9 | 3240
Excavate Power Trenches | [5 empty] | 2240 | lf | 2 | 4480
Excavate Gas Trenches | [5 empty] | 2240 | lf | 2 | 4480
Fine Grade Lots | [5 empty] | 203000 | sf | 0.08 | 16240
Engineering: | [8 empty] | 40000
97940
Section VI total: | [8 empty] | 97940
TOTAL ALL SECTIONS: | [9 empty] | 468011.0793
29 | LOTS = | 16138.3131 | PER LOT
ESTIMATE OF COSTS FOR:
CANTERBURY CROSSING | [7 empty] | 2004-08-02
Residential Subdivision 29 Lots
Section l: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Streets @ 60' ROW:
Grubbing and clearing |  |  | 163 | 37 | 1 | 223.3704 | cy | 3.5 | 781.7963
Soil density and compaction tests | [5 empty] | 2 | ea | 75 | 150
Gravel Base |  |  | 163 | 37 | 1.25 | 558.4259 | tn | 9 | 5025.8333
Asphalt |  |  | 163 | 32 | 3" | 5216 | sf | 1 | 5216
Asphalt Seal Coat | [5 empty] | 5216 | sf | 0.17 | 886.72
12060.3496
Streets @ 50' ROW:
Grubbing and clearing |  |  | 1045 | 32 | 1 | 1238.5185 | cy | 3.5 | 4334.8148
Soil density and compaction tests | [5 empty] | 6 | ea | 75 | 450
Gravel Base |  |  | 1045 | 32 | 1.25 | 3096.2963 | tn | 9 | 27866.6667
Asphalt |  |  | 1045 | 27 | 3" | 28215 | sf | 1 | 28215
Asphalt Seal Coat | [5 empty] | 28215 | sf | 0.17 | 4796.55
65663.0315
Section l total: | [8 empty] | 77723.3811
Section ll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Culinary Water:
Furnish & install C900 DL18 Water Main-8" |  |  | 1095 |  |  | 1095 | lf | 15 | 16425
Furnish & install C900 DL18 Water Main-12" |  |  | 345 |  |  | 345 | lf | 15 | 5175
Connection to existing water main | [5 empty] | 1 | ea | 400 | 400
Furnish and install Fire Hydrants complete | [5 empty] | 3 | ea | 2400 | 7200
Service connections |  |  | 40 |  |  | 17 | ea | 500 | 8500
Service connections |  |  | 30 |  |  | 12 | ea | 500 | 6000
Pressure Test | [5 empty] | 1 | ea | 300 | 300
Plug & Block | [5 empty] | 3 | ea | 150 | 450
Tees, Elbows | [5 empty] | 5 | ea | 300 | 1500
Valves | [5 empty] | 4 | ea | 900 | 3600
49550
Secoundary Water:
Furnish and install C900 DL18 Water Main |  |  | 1221 |  |  | 1420 | lf | 14 | 19880
Connection to existing water main | [5 empty] | 1 | ea | 300 | 300
Service connections |  |  | 55 |  |  | 7 | ea | 400 | 2800
Service connections |  |  | 35 |  |  | 9 | ea | 400 | 3600
Pressure Test | [5 empty] | 1 | ea | 300 | 300
Plug & Block | [5 empty] | 2 | ea | 150 | 300
Tees, Elbows | [5 empty] | 2 | ea | 300 | 600
Valves | [5 empty] | 3 | ea | 900 | 2700
30480
Section ll total: | [8 empty] | 80030
Section lll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Sanitary Sewer:
Furnish and install 8 inch PVC |  |  | 1460 |  |  | 1460 | lf | 16 | 23360
Connection to existing sewer | [5 empty] | 0 | ea | 3500 | 0
Service connections |  |  | 40 |  |  | 17 | ea | 450 | 18000
Service connections |  |  | 30 |  |  | 12 | ea | 450 | 13500
Furnish and install 4 ft manholes | [5 empty] | 5 | ea | 1500 | 7500
Furnish and install 5 ft manholes | [5 empty] | 1 | ea | 1700 | 1700
Test sewer | [5 empty] | 1 | ea | 1630 | 1630
65690
Storm Sewer:
Furnish and install 15 inch RCP |  |  | 984 |  |  | 1360 | lf | 19 | 25840
Connection to existing storm drain | [5 empty] | 0 | ea | 2600 | 0
Inlet boxes | [5 empty] | 8 | ea | 1150 | 9200
Detention Pond Excavation | [5 empty] | 1 | ea | 4500 | 4500
39540
Section lll total: | [8 empty] | 105230
Section lV: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 2240 | 5 | 0.5 | 207.4074 | cy | 3.5 | 725.9259
30" curb and gutter (includes 4" road base) |  |  | 2240 | 2.5 |  | 2240 | lf | 15 | 33600
4' sidewalk (includes 4" road base) |  |  | 2240 |  |  | 2240 | lf | 11 | 24640
58965.9259
Section lV total: | [8 empty] | 58965.9259
Section V:
Land Drain:
Furnish and install 8 inch PVC |  |  | 1064 |  |  | 1372 | lf | 19 | 26068
Connection to existing sewer | [5 empty] | 0 | ea | 3500 | 0
Laterals |  |  | 45 |  |  | 16 | ea | 450 | 20250
Laterals |  |  | 25 |  |  | 13 | ea | 450 | 11250
Furnish and install 4 ft manholes | [5 empty] | 1 | ea | 1700 | 1700
Furnish and install 5 ft manholes | [5 empty] | 0 | ea | 1900 | 0
Test sewer | [5 empty] | 0 | ea | 4500 | 0
59268
Section V total: | [8 empty] | 59268
Section VI: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Miscellaneous: | [8 empty] | 25000
Manhole collars | [5 empty] | 19 | ea | 300 | 5700
Fencing | [5 empty] | 360 | lf | 9 | 3240
Excavate Power Trenches | [5 empty] | 2240 | lf | 2.25 | 5040
Excavate Gas Trenches | [5 empty] | 2240 | lf | 2 | 4480
Fine Grade Lots | [5 empty] | 203000 | sf | 0.1 | 20300
Engineering: | [8 empty] | 40000
Road Crossings for power | [6 empty] | lf | 5.5 |  | 103760
Section VI total: | [8 empty] | 103760
TOTAL ALL SECTIONS: | [9 empty] | 484977.307
29 | LOTS = | 16723.3554 | PER LOT

## Sheet3
ESTIMATE OF COSTS FOR: | [8 empty] | 2016-09-30
HENRY FLATS SUBDIVISION
Residential Subdivision Lots
2017-08-07
Section l: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total |  | Completed | %
Streets @ 60' ROW:
Gravel Base (3" Minus Borrow) |  |  | 880 | 36 | 0.67 | 1690.1867 | tn | 18 | 30423.36 |  |  | 0%
|  |  | 37 | 25 | 5 | 368.287 | tn | 18 | 6629.1667 |  |  | 0%
|  |  | 640 | 10 | 0.67 | 341.4519 | tn | 18 | 6146.1333 |  |  | 0%
Asphalt (includes Road Base) |  |  | 880 | 36 | 3" | 31680 | sf | 2.58 | 81734.4 |  |  | 0%
Asphalt (includes Road Base) |  | 400 South | 535 | 8 | 3" | 4280 |  | 3.16 | 13524.8 |  |  | 0%
Asphalt Seal Coat | [5 empty] | 3996 | sy | 2.5 | 9990 |  |  | 0%
Saw cutting |  |  | 360 |  | 3 | 1080 | in/ft | 0.5 | 540 |  |  | 0%
Signs | [5 empty] | 2 |  |  | 471 |  |  | 0%
149458.86
Section l total:
Section ll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Secondary Water:
Furnish and install 12" SDR35 | [5 empty] | 854 | lf | 18 | 15372 |  | 15372 | 100%
Connection to canal | [5 empty] | 1 | ea | 450 | 450 |  | 450 | 100%
Screen | [5 empty] | 1 | ea | 1500 | 1500 |  |  | 0%
Pressure Irrigation Line 6" | [5 empty] | 740 | lf | 14 | 10360 |  | 5000 | 48.26%
Service connections | [5 empty] | 12 | ea | 400 | 4800 |  | 2400 | 50%
Pressure Test | [5 empty] | 1 | ea | 300 | 300 |  |  | 0%
Plug & Block | [5 empty] | 1 | ea | 150 | 150 |  |  | 0%
Tees, Elbows | [5 empty] | 5 | ea | 200 | 1000 |  | 1000 | 100%
Valves | [5 empty] | 1 | ea | 650 | 650 |  | 650 | 100%
Manhole | [5 empty] | 1 | ea | 2286 | 2286 |  | 2286 | 100%
Emergency Overflow | [5 empty] | 1 | ea | 3250 | 3250 |  |  | 0%
Pump and controls | [5 empty] | 1 | ea | 14320 | 14320 |  |  | 0%
Pumphouse | [5 empty] | 1 | ea | 9600 | 9600 |  |  | 0%
64038
Section ll total:
Section lll: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Storm Sewer:
Furnish and install 18 inch RCP | [5 empty] | 112 | lf | 34 | 3808 |  | 3808 | 100%
Inlet boxes | [5 empty] | 3 | ea | 1150 | 3450 |  | 3450 | 100%
Irrigation Manhole | [5 empty] | 1 | ea | 2120 | 2120 |  | 2120 | 100%
Pond Drainlines/Screen/Misc | [5 empty] | 1 | ea | 7282 | 7282 |  |  | 0%
Pond Excavation |  |  | 120 | 150 | 3 | 2000 | cy | 2 | 4000 |  |  | 0%
RipRap | [5 empty] | 37 | cy | 65 | 2405 |  |  | 0%
Section lll total: | [9 empty] | 23065
Section lV: |  |  | Length | Width | Depth | Qty | Unit | Cost | Total
Curb & Gutter, Sidewalk:
Grade for sidewalk |  |  | 1280 | 5 | 0.05 | 320 | sf | 3.5 | 1120 |  |  | 0%
30" curb and gutter (includes 4" road base) |  |  | 1280 | 2.5 |  | 1280 | lf | 14 | 17920 |  |  | 0%
4' sidewalk (includes 4" road base) |  |  | 1280 |  |  | 1280 | lf | 16 | 20480 |  |  | 0%
HC Ramps | [5 empty] | 2 | ea | 650 | 1300 |  |  | 0%
Section lV total: | [9 empty] | 40820
Fencing and gates | [5 empty] | 581 | lf |  | 1500 |  |  | 0%
| Section VI total: | [8 empty] | 1500
TOTAL ALL SECTIONS: | [9 empty] | 278881.86 | 36536 | 13.1%
Contingency | [9 empty] | 27889
TOTAL | [9 empty] | 306770.86
COMPLETED TO DATE | [9 empty] | 36536
TOTAL ESCROW AMOUNT 8/07/2017 | [9 empty] | 270234.86