Engineering Review 2 Comments

Project:	Edgewater Beach Resort Phase 2

User:	Dana Shuler

Department:	Weber County Engineering Division

Created:	June 5, 2015

General:

Item #

1 & 2		To be provided by Owners

3		SWPPP is included with improvement plans and permits obtained by Contractor

4		Excavation Permit obtained by Owners

5	Plans have been submitted to Great Basin Engineers for Lakeview Water Company approval.  The Water Company needs to submit the plans to the State for DDW plan approval

6	Plan approval letters from Mountain Sewer and Lakeview Water will be the responsibility of the Owners

7	Lakeview Water Company has submitted a new letter for Phase 2 for service

8	Easement for drainage system outside of Phase 2 has been given to the owners to be executed

Plat:

Item #

1	Wording within Surveyor’s Certificate has been changed

2	Note 2 has been modified

3	Note 2 has been reconciled

Plans:

Item #

1		Line types have been adjusted

2		ADA ramps have been added

3		On the sheets, reflector on posts have been added

4		Structural design calculations and section for 8’ rock wall have been added

5 		Adjustment of overlapping text has been modified

6		The 2 cross street sections have been identified and show storm water flows

7		Contours have been labeled

8		Contours have been extended

9		Contours in the open space for finished grade have been added

10		Plans have been modified with piping of storm drainage through future phase

11		Not a concern with piping storm drainage swale

12 		Resolved same as 11

13		Resolved same as 11

14	Garage floors will be modified by developer as needed

15 	Fire hydrant was labeled

16	Pipe specification has been added

17	Existing 2” will be cut off and plugged

18	Information from Great Basin Engineering confirmed location of 8” water line crossing SR 39

19	UDOT has not indicated the removal of the existing 8” sewer line that is abandoned to be removed

20	There are no drops proposed for manhole “out” pipes

21 	The 6” PVC Sch 40 pipe will fit in a 10” casing

22	It has been indicated that the casing will be bored

23	The proposed 6” gravity line has been slightly modified so no encroachment will be made on private property

24 	Casing as noted not to extend 5’ beyond edge of pavement

25	Before boring the casing under Snow Basin Road, the existing pipe will be potholed and located

26	The shoulder restoration along Snow Basin Road will conform to APWA Plan No. 381 for trench backfill

27	Flow line elevations are shown where there are pipe crossing each other

28	There is no existing force main along Snow Basin Road as per information from Great Basin Engineering

29	2 Ari/Vac’s are shown on plans, one of which is by the bend of the force main on Snow Basin Road

30	The force main will dip slightly by the 48” culvert on Snow Basin Road to provide cover

31 	Additional granular fill has been required under walkway and sidewalk details

32	Tee for Fire Hydrant detail has been modified

33	Type “F” curb is being used throughout project and will provide adequate drainage

34	I have questions on your choice of information used on the pump curves

SWPPP

1	Drainage swale will temporarily empty directly into detention basin