Engineering Review 4 Comments

Project:	Edgewater Beach Resort Phase 2

User:	Dana Shuler

Department:	Weber County Engineering Division

Created:	July 30, 2015

General:

Item #

5	To be submitted by Great Basin

6	To be obtained by owners

7	To be obtained by owners

8	To be executed by owners

Plat:

Item #

2	Has been reviewed and modified as reviewed

3	Completed as discussed

Plans:

Item #

1		Modified as discussed

2		All sidewalks are included

4		Added to plans as reviewed

6.2		Different street location

6.3	Model uses standard Curb & Gutter both road sections are the same as discussed

8		Contours have been reviewed and modified as discussed

9.2		Completed as discussed

9.3		Removed

9.4		Modified as discussed

9.5		Contours are added

10.1.1		Rock placement as shown

10.1.2		Thanks, modified

10.1.3		Thanks, modified

10.1.4		Yes

10.1.5		Yes

13.1.1		Modified the stubout

16.1.1	Completed

17.1.1	Completed as shown

18	Confirmed with Mark Babbett @ Great Basin

19.1	Pipe will not be abandoned

19.1.1	Modified

19.1.3	Leaving pipe in place

21.1 	Changed as shown in note

21.1.1	Completed

21.1.2	Note shown on sheets

22.1.1	As shown on plans

22.1.2	Correct

23.1.1	Pipe will be installed 2’ from existing gravity line as discussed and shown by note

24.1.1	As per note on plans

30.1.2	Modified location of pipe crossing to existing manhole

31.1.1	Not required.  Pipeline has been moved

33.1.1	Removed conflicting detail

31.1.2	Modified detail

31.1.3	Actual date – August 8, 2013

34	Yes

34.1.3	Thanks for the opportunity to review design details

35.1	Noted as discussed

35.2	Correct.  We will not be on their property

35.3	As noted

35.4.1	Water line has been shown and sewer line location has been changed

35.4.2	Located and noted

35.4.3	Have met with both Spence & Mark Babbett