|  | Staff Report for Administrative Subdivision Approval Weber County Planning Division |
| --- | --- |

Synopsis

Application Information

Application Request:	Consideration and action on an administrative application for final approval of Babilis Subdivision, consisting of one lot with a request to defer curb, gutter, and sidewalk.

Type of Decision:	Administrative

Agenda Date:	Wednesday, August 30, 2017

Applicant:	Nicholas Babilis, owner

File Number:	LVB 070317

Property Information

Approximate Address:	6207 Melanie Lane, Uintah, UT

Project Area:	1.21 acres

Zoning:	Residential Estates (RE-20) Zone

Existing Land Use:	Residential

Proposed Land Use:	Residential

Parcel ID:	07-099-0011

Township, Range, Section:	T5N, R1W, Section 24

Adjacent Land Use

North:	Residential	South:	Residential

East:	Residential	West: 	Residential

Staff Information

Report Presenter:	Felix Lleverino

flleverino@co.weber.ut.us

801-399-8767

Report Reviewer:	RK

Applicable Ordinances

Title 101 (General Provisions) Section 7 (Definitions)

Title 104 (Zones) Chapter 3 (RE- 20 Zone)

Title 106 (Subdivisions)

Title 108 Chapter 18 (Drinking Water Source Protection)

Title 108 (Standards) Chapter 22 (Natural Hazard Areas)

Background and Summary

The applicant has submitted a proposal for a one lot subdivision.  The proposed subdivision is located in the unincorporated areas of Uintah Highlands that is zoned RE-20. The parcel was previously owned by Uintah Highlands Improvement District where a water tank was located. The water tank has since been demolished and the land acquired by Nick Babilis to be used as a residential lot. The existing gravel road will be extended across Lot 1 of Babilis Subdivision to serve as a private access to the Calais Subdivision. The owner has secured rights to utilize access across lot 36 of Eastwood Subdivision No. 10 in the form of an easement agreement shown in Exhibit D.

Based on the Weber County geologic map, this parcel is located within a geologic study area. In order to determine the type and severity of hazards that may exist on the site, a geologic reconnaissance report has been submitted. The applicant has contracted with Charles Payton who is a licensed geologist and who has prepared the report included as exhibit D.

This parcel is also located within a Drinking Water Source Protection Zone 4. Weber County Land use Code §108-18-5 and 108-18-6 states the allowed and prohibited uses. The proposed residential uses are in accordance with Drinking Water Source Protection requirements.

The proposed subdivision and lot configuration is in conformance with the applicable zone and subdivision requirements as required in the LUC.  The following section is a brief synopsis of the review criteria and conformance with the LUC.

Analysis

General Plan: The Babilis Subdivision is in harmony with the Western Weber General Plan by implementing residential development within the RE-20 Zone that allows for increased density.

Zoning: The property is located in the RE-20 Zone. The purpose of this zone is stated in the LUC §104-3-1 as follows:

“The major purpose of the RE-15 and RE-20 Zones is to provide and protect residential development at a low density in a semi-agricultural or rural environment. It is also to provide for certain rural amenities on larger minimum lots, in conjunction with the primary residential nature of the zone.

This proposal meets the purpose and intent of the Weber County Land Use Code.”

Lot Area, Frontage Width and Yard Regulations: Lot 1 will contain 1.214 acres with the width of 341.22 ft.

The site development standards for the RE-20 Zone are as follows:

Minimum Lot Area: 20,000 sq. ft.

Minimum Lot Width: 100 Feet

The Yard Regulations for the RE-20 zone are as follows:

Front: 30

Sides: 10 feet with a total of two side yards less than 24 feet.

Rear: 30 feet

Geologic Study Area: This proposal is located within a geologic study area, thereby requiring a geologic study that assesses types of hazards that exist on the site, severity of hazards, and further recommendations. In this instance, debris flow or alluvial fan flooding hazards, stream flooding, and rock fall hazards have a risk level of low. It is recommended that a geologic review be made at the time of excavation to be certain that geologic features are not detrimental to home construction.

Small Subdivision: The Weber County Land Use Code (Title 101) defines a “small subdivision” as “A subdivision consisting of five (5) or fewer lots and for which no streets will be created or realigned.” This subdivision consists of one lot and no new streets are being created or realigned. Based on these provisions, this subdivision qualifies for administrative approval as a small subdivision.

Culinary Water and Sanitary Water: A “Will Serve” letter from Uintah Highlands Improvement District has been submitted stating that culinary water and wastewater services are available for Lot 1 (see Exhibit C).

Additional design standards and requirements: This proposal lies within a Drinking Water Source Protection Zone 4. Due to the potential for ground water contamination Weber County land use code lists specific restrictions for this zone. The current residential uses do not violate the Drinking Water Source Protection Regulations.

Weber County Fire District has required that a fire hydrant be installed within 400 feet of from the furthest most portion of the building. Fire flow for this subdivision shall be 1000 GPM. Further, the developer shall place a temporary address marker at the building site during construction.

With the exception of the recommended conditions identified in this staff report additional standards and requirements are unnecessary at this time.

Review Agencies: Applicable Weber County review agencies have stated requirements for this proposal that must be met prior to recording final Mylar.

Tax Clearance: There is no record of past delinquent tax history and no outstanding tax bills on this parcel.

Public Notice: Noticing requirements, according to LUC 106-1-6(c), have been met by mailing notices out to all property owners of record within 500 feet of the subject property.

Staff Recommendations

Staff recommends final plat approval of Babilis Subdivision, consisting of one lot. This recommendation is based on the following condition:

- A note on the plat indicating that a geologic report has been conducted and is available in the Weber County Planning Office.

- Improvements for this lot will be in conjunction with Calais Subdivision. Improvements will need to be installed or escrowed for prior to final approval.

- A Deferral Agreement of asphalt, curb, gutter, and sidewalk shall be entered into by the applicant and recorded with the final Mylar

- Prior to recording the final Mylar, all requirements of the Weber County reviewing agencies shall be met.

This recommendation is based on the following findings:

- The proposed subdivision conforms to the Western Weber General Plan.

- The proposed subdivision complies with the applicable County codes.

Administrative Approval

Administrative final approval of Babilis Subdivision is hereby granted based upon its compliance with the Weber County Land Use Code.  This approval is subject to the requirements of applicable review agencies and the conditions of approval listed in this staff report.

Date of Administrative Approval:

________________________________________

Rick Grover

Weber County Planning Director

Exhibits

Babilis Subdivision

Current Recorders Plat

Uintah Highlands Improvement District Will Serve Letter

Easement Agreement

Geologic Report (The complete report is available at the Weber County Planning Office)

Area Map

Exhibit A

Exhibit B

Exhibit C

Exhibit D

Exhibit E