Jordan SWPPP

2899 N. Wolfcreek Dr.

Eden Utah 84310

1. The area surrounding the construction site is substantial and covered with natural vegetation which will effectively protect adjacent property and local waterways
2. There will be other BMPs provided as determined necessary at time of construction and may include silt fencing or straw wattles
3. A construction entrance with large gravel will be maintained at the site
4. A construction concrete clean out will be provided
5. An onsite temporary toilet will be located and maintained thru-out the construction process
6. A dumpster will be located and maintained thru-out the construction process
7. A material storage site will be maintained during construction
8. The SWPPP permit will be identified and located at the construction entrance.