**Common Plan SWPPP for**

**Bybee Home**

2414 s 3600 w

Taylor, Utah, 84404

Bybee

2414 s 3600 w

Taylor, Utah, 84404

**Farr Built Homes**

3605 w 900 s

West Weber, Ut, 84404

Date

8/1/2019



# 1. Project Information

|  |
| --- |
| **Project Name:** bybee home |
| **Address:** 2414 s 3600 w |
| **City:**Taylor | **State:** UT | **Zip:** 84404 |
| **Latitude:** Degrees, Decimal Minutes |
| **Longitude:** Degrees, Decimal Minutes |
| **UPDES Permit Tracking Number:** Click here to enter text. |

|  |
| --- |
| **Owner:** Farr built homes |
| **Contact Person:** Tyler |
| **Address:**  |
| **City:** | **State:** ut | **Zip:** 84404 |
| **Telephone Number:** 8019413790 |
| **Email Address:**  |

|  |
| --- |
| **General Contractor:**Farr Built Homes. |
| **Contact Person:** Lowell. |
| **Address:** 3605 w 900 s. |
| **City:** West Weber. | **State:** ut | **Zip:** 84404 |
| **Telephone Number:** 801-721-1330 |
| **Email Address:** Farr Built Homes |

**1.5**

**Unknown Features (although this may be a law under another program, it’s not a permit requirement). Discovery of Historical, Archaeological or Paleontological Objects, Features, Sites, or Human Remains**

A. Immediately suspend construction operations in the vicinity(100 foot minimum buffer) of the discovery.

B. Verbally notify the Public Works Department and provide them the exact location.

C. Protect the discovery and provide written confirmation of the discovery to the City and State Historic Departments within two calendar days.

D. Contractor and City follow State mitigation laws.

**2. Best Management Practices**

**2.1 SWPPP Sign**(see permit part 1.10, 4.2.11)

Description of construction board is filed in Appendix L

**2.2 Sensitive Features Control** (see permit part 2.2)

**2.2.x Wetlands**

No Wetlands in area

**2.2.x Water Bodies within or 30’ from Disturbance Boundary**(see permit part 2.3.5)

No Bodies of water around within 30’

**2.3 Sediment Control** (see permit part 2.1.2, 2.1.3 & 2.3)

**2.3.x** **Trap/Filter Sediment at Property Boundary**(see permit part 2.1.2)

ST & SF

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.4.x Inlet Protection**(see permit part 2.1.3 & 2.3)

BE & TD S

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.4.x Steep Slopes** (see permit part 2.3.2)

There is No steep slopes on job

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.4.x Street Maintenance**(see permit part 3.2.2)

The Streets will be swept on a regular basis

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.4 Top Soil Preservation**(see permit part 2.5)

SF

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.5 Dust Control**(see permit part)

**2.5.x**

Replace this text with the BMP name or explain why it DOES NOT APPLY.

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.6 Egress Control**(see permit part 2.4)

**2.6.x Track Out**(see permit part 2.4.1)

Replace this text with the BMP name or explain why it DOES NOT APPLY.

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7 Waste Management Control**(see permit part 4.2.6)

**2.7.x Solid Waste**(see permit part 2.4.3)

Soild waste will be hauled away on a regular basis BRRC.

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7.x Construction Spoil**(see permit part 2.1.1)

Construction debris and spoil will be cleaned up on a regular basis SCU.

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7.x Sanitary Waste**(see permit part 2.4.4)

Sanitary waste will be hauled off jobsite or dumped into the proper waste collection waste BRRC.

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7.x Cement Product Operations**(see permit part 2.4.5, 2.9.2)

Cement and concrete operation will be handled according to swapp CWM

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7.x Concrete Cutting Operations**(see permit part 2.9.2)

CWM

BMP description, rational for use and specifications, and details are filed in Appendix L.

**2.7.x Non Aqueous Waste**(see permit part 2.8.2)

SCU

BMP description, rational for use and specifications, and details are filed in Appendix L.

***2.7.x Construction Wastewater****(see permit part 2.7, 2.9, 2.9.4)*

CWM

BMP description, rational for use and specifications, and details are filed in Appendix L.

***2.8 Management of Construction Materials Control***

***2.8.x Storage of Construction Materials****(see permit part 2.8.2)*

MS

BMP description, rational for use and specifications, and details are filed in Appendix L.

***2.8.x Construction Staging(backfill)****(see permit part 2.1.1)*

EB

BMP description, rational for use and specifications, and details are filed in Appendix L.

***2.8.x Construction Staging(Landscaping)****(see permit part 2.1.1)*

EB

BMP description, rational for use and specifications, and details are filed in Appendix L.

***2.9 Final Stabilization****(see permit part 2.6)*

***2.9.x Landscaping Plan***

The Landscaping plan during construction will be to clean up all construction waste and grade the dirt around the home with a 5% sloping grade away from the home.

***2.9.x Temporary Containment of Sediment***

CP

BMP description, rational for use and specifications, and details are filed in Appendix L.

# 3. Spill Prevention and Response Plan(see permit part 2.8.3, 2.9.3)

To prevent any spills during construction there will be safety meeting and guidance from professionals to make sure that we can prevent any spills. If spills do occur during construction we will make sure that the proper authorities are informed and that the correct procedures are taken to clean up the spill.

Description of Spill control Plan, details and policy are filed in Appendix L.

**Any discharges in 24 hours equal to or in excess of the reportable quantities listed in 40 CFR 117, 40 CFR 110, and 40 CFR 302 will be reported to the National Response Center and the Division of Water Quality (DWQ) as soon as practical after knowledge of the spill is known to the permittee.** The permittee shall submit within 14 calendar days of knowledge of the release a written description of: the release (including the type and estimate of the amount of material released), the date that such release occurred, the circumstances leading to the release, and measures taken and/or planned to be taken to the Division of Water Quality (DWQ), 288 North 1460 West, P.O. Box 144870, Salt Lake City, Utah 84114-4870. The Storm Water Pollution Prevention Plan must be modified within14 calendar days of knowledge of the release to provide a description of the release, the circumstances leading to the release, and the date of the release. In addition, the plan must be reviewed to identify measures to prevent the reoccurrence of such releases and to respond to such releases, and the plan must be modified where appropriate.

|  |  |
| --- | --- |
| **Agency** | **Phone Number** |
| National Response Center | (800) 424-8802 |
| Division of Water Quality ( DWQ) 24-Hr Reporting | (801) 538-6146; (801) 536-4123 |
| Utah Department of Health Emergency Response | (801) 580-6681 |
| UFA  | 911 |

Minimum spill quantities requiring reporting:

|  |  |  |
| --- | --- | --- |
| **Material** | **Media Released To** | **Reportable Quantity** |
| Engine oil, fuel, hydraulic & brake fluid | Land | 25 gallons |
| Paints, solvents, thinners | Land | 100 lbs (13 gallons) |
| Engine oil, fuel, hydraulic & brake fluid | Water | Visible Sheen |
| Refrigerant | Air | 1 lb |
| Antifreeze, battery acid, gasoline, engine degreasers | Air, Land, Water | 100 lbs (13 gallons) |

Emphasis to:

1st Priority: Protect all people (including onsite staff)

2nd Priority: Protect equipment and property

3rd Priority: Protect the environment

1. Make sure the spill area is safe to enter and that it does not pose an immediate threat to health or safety of any person.
2. Check for hazards (flammable material, noxious fumes, cause of spill) – if flammable liquid, turn off engines and nearby electrical equipment. If serious hazards are present leave area and call 911. LARGE SPILLS ARE LIKELY TO PRESENT A HAZARD.
3. Stop the spill source and contain flowing spills immediately with spill kits, dirt or other material that will achieve containment.
4. Call co-workers and supervisor for assistance and to make them aware of the spill and potential dangers
5. If spilled material has entered a storm sewer, regardless of containment; contact the Municipal Storm Water Division.
6. Cleanup all spills (flowing or non-flowing) immediately following containment. Clean up spilled material according to manufacturer specifications, for liquid spills use absorbent materials AND DO NOT FLUSH AREA WITH WATER.
7. Properly dispose of cleaning materials and used absorbent material according to manufacturer specifications.
8. Report the reportable quantity to the Municipal Storm Water Division.

**Emergency Numbers**

Utah Hazmat Response Officer 24 hrs (801)-538-3745

weber county sherif (801)-668-7700

Taylor west weber water (801) 731-1680

# *4. Site Map(s) (see permit part 4.2.3)*

*The SWPPP site maps are filed in Appendix B*

*{Maps shall include all structural BMPs, and all site components necessary to demonstrate pollution containment. Multiple SWPPP site map sheets may be necessary to clearly show how and when BMPs are to be employed relative to the construction phases}*

*The SWPPP site maps shall include but not limited to:*

1. *boundaries of project/property*
2. *boundaries of disturbance (including areas outside of property boundaries)*
3. *show slopes on site*
4. *location of structures/facilities*
5. *locations of :*
	1. *stockpiles for soils and materials*
	2. *construction supplies*
	3. *portable toilets*
	4. *garbage/trash containers*
	5. *egress points/track out pads*
	6. *concrete washout pits or containers*
6. *water bodies, wetlands, natural vegetative buffers*
7. *placement of all BMPs, perimeter, erosion control, sediment control, inlet, etc.*
8. *storm water inlets and storm water discharge points (where storm water drains off the site)*
9. *areas that will be temporarily or permanently stabilized on the site*

*{Refer to the regulation for specific requirements}*

# 5. Record Keeping

See the appendices in Appendix A-K.

# SWPPP Inspections-Maintenance-Correction Report (permit part 3.2.1, 3.2.2, 3.3, 3.4, 4.2.12)

Inspections are required every 7 calendar days

Repair or replace BMPs prior to need or by end of week whichever comes first. Update the Inspection-Maintenance-Correction Report weekly.

Section 3.2.2 requires daily maintenance of pavements and site grounds.

See the Inspection-Maintenance-Correction Reports in Appendix E

# Changes to the SWPPP(see permit part 4.2.12, 4.2.13)

See the Amendment Log in Appendix F.

# Training(see permit part 4.2.7)

Training Logs and Documents are filed in Appendix H.

# 6. Discharge Information

**Receiving Waters (look up** [**http://wq.deq.utah.gov**](http://wq.deq.utah.gov) **to identify your receiving water body)**

|  |  |
| --- | --- |
| **1.** | **North Fork weber river** |

**Impaired Waters (refer to** [**http://wq.deq.utah.gov**](http://wq.deq.utah.gov) **in the left hand column to determine status of receiving water body).**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Impaired Surface Water** | **Is this surface water impaired?** | **Pollutant(s) causing the impairment** | **Has a TMDL been completed?** | **Pollutant(s) for which there is a TMDL** |
| North fork weber river | ☐ Yes x☐ No | See web site above | ☐ Yes x☐ No | See web site above |

Copy the table above and repeat where there is more than one water body.

# 7. Certification, Notification and Delegation(see permit part 4.2.9)

|  |
| --- |
| **Owner Certification:** See documents filed in Appendix G. **Operator Certification:** See documents filed in Appendix G. Not necessary when the Owner and Operator are the same.**Delegation of Authority:** insert text here If used include documents and reference their file in Appendix G.**Subcontractor Certification:** insert text hereIf used include documents and reference their file in Appendix G.**Notice of Permit Transfer Requirements:** insert text hereIf used include documents and reference their file in Appendix G. |
| *{There are forms for these actions provided in EXHIBIT G of this SWPPP template. File all certification and delegation documents there.}* |

# SWPPP Appendices

**Appendix A: General Location Map**

**Appendix B: SWPPP Site Maps**

**Appendix C: UPDES Permit(UTRH00000)**

**Appendix D: Permits; NOI, MS4** (Including City, County, State, 3rd Party; MS4 Acknowledgements)

**Appendix E: Inspection-Maintenance-Correction Report**

**Appendix F: SWPPP Amendment Log**

**Appendix G: Certifications, Agreements, Delegation of Authority**

**Appendix H: Training Log**

**Appendix I: Construction Plans**

**Appendix J: Additional Information** (e.g. Support documents and out of date SWPPP documents, etc.)

**Appendix K: BMP Specifications and Details**