To: Weber County

Attn:

From: Landmark Surveying

Subject: Flat Canyon Estates

The review comments dated 11-20-19 from Engineering and 11-25-2019 from Surveyor’s Review notes are addressed as follows:

Engineering:

* Owner will provide forms for substandard road agreement and the deferral agreement.
* Existing Structures are now shown.
* Existing Fire Hydrant now shown. Located near the middle of this Lot.
* SWPPP can be provided later.
* Red Line Comments are addressed.

Surveying:

* Address added to lot.
* Red Line Comments are addressed.

Tyler Knight,  
Landmark Surveying Inc.

3962 response1.docx